Competency Standards for Measuring IOP
(with a hand-held device- may vary slightly depending on machine used)
PROCEDURE	Tick
Ensure equipment is in working order, has been recently calibrated and is clean
Wash/sanitise hands and machine/any other equipment likely to be used.
Greet the patient, check details- name, dob and/or ID
Explain the procedure and the reason and assess the understanding and capability of the patient sensitively - demonstrating as necessary
Gain verbal consent to complete the test
Depending on instrument being used, put clean cover on equipment if needed e.g. tonopen
Check that patient is not wearing contact lenses, if so ask patient to remove
Check with the patient for allergies (in particular to latex depending on machine being used), instil topical anaesthetic if needed e.g. contact measurement
Instruct the patient to look straight ahead with eyes wide open
If using a handheld device, hold perpendicular to the eye. When in the correct position, a sound may be emitted from the device. Repeat the measurements as recommended by manufacturer
Repeat procedure on the other eye
Respond appropriately to difficulties that may arise
Save and/or complete records correctly
Report any concerns to Doctor/supervisor and ensure patient understands next steps
Clean machine and wash hands